## Slide 1: Integracija obnovljivih izvora u tradicionalne sisteme daljinskog grejanja Aktuelni trendovi, izazovi i rešenja
Vladimir Šuković,
Danfoss d.o.o.

## Slide 2
42,000+
Zaposlenih
10,0+ MLRD EUR
Promet
Prodaja na svim kontinentima
U više od 100 zemalja
95 fabrika
U više od 20 zemaljas
U privatnom vlasništvu
Ownership
Nordborg, Danska
Headquarters
Danfoss u svetu
Top 3 markets
Evropa
Kina
SAD

## Slide 3: Tri posebna poslovna segmenta sa stalnim rastom
Chart: 
| 1st Qtr | 2nd Qtr
Column2 | 43 | 38 | 19
19%
of Group sales
4,582 zaposlenih
9 fabrika u 7 zemalja
1.4mlrd EUR godišnji promet
Danfoss Power Electronics and Drives
#2 pozicija na tržištu
Chart: 
| 1st Qtr | 2nd Qtr
Column2 | 43 | 57
43%
of Group sales
19,061 zaposlenih
53 fabrika u 19 zemalja
3.2bn EUR godišnji promet
Danfoss Power Solutions
#2 pozicija na tržištu
38%
of Group sales
11,235 zaposlenih
34 fabrike u 15 zemalja
2.9 mlrd EUR godišnji promet
Danfoss Climate Solutions
#2 pozicija na tržištu
Chart: 
| 1st Qtr | 2nd Qtr
Column2 | 43 | 38 | 19

## Slide 4
Danfoss Climate Solutions – Kontinualni rast
„Highlights“
Consolidate and stabilize operations:
Contribution margin
Inventory
Continue growth journey
Fabrike u 15 zemalja
2.9
11,235
Focus 2023
Životna sredina
Društvena odgoornost
Korporativno upravljanje
17.8
EBITA margin, %
(2020: 16.4)
Sales, EURbn
(2020: 2.5)
Zaposlenih na svim kontinentima
ESG
34
Annual Report 2021

## Slide 5
Obnovljivih izvora i
Viškova energije
Niskotemperaturnih režima
Od fosilnih goriva do…
Od visokotemperaturnih režima do…
Više izvora
Od pojedinačnih izvora do…
Trendovi u sektoru daljinskog grejanja- 4G

## Slide 6
Trendovi u sektoru daljinskog grejanja – 4G
Trend rasta OIE do 2050 godine
Chart: 
| 2020 | 2030 | 2040 | 2050
 | 0.02 | 0.25 | 0.45 | 1
Cilj: do 2050 godine fosilna goriva zameniti obnovljivim izvorima energije
Udeo OIE u Srbiji
ALTERNATIVNI i oie : BIOMASA, HIDROPOTENCIJAL, SUNČEVA ENERGIJA, ENERGIJA VETRA, GEOTERMALNA ENERGIJA, OTPADNA TOPLOTA
Chart: 
| Biomasa 63% | Hidropotencijal 14% | Sunčeva energia 14% | Energija vetra 5% | Geotermalna energija 4%
 | 0.63 | 0.14 | 0.14 | 0.05 | 0.04

## Slide 7
U energetici je planiranje proizvodnje i potrošnje veoma važno
Intermitentnost / nepredvidivost OIE
Održavanje stabilnosti sistema
Planiranje proizvodnje i potrošnje
Troškovi investicije /CAPEX / OPEX
Visok nivo automatizacije
Izazovi u sektoru daljinskog grejanja – 4G
Delta T optimizacija – ekonomski
balans temperature i protoka

## Slide 8
Trendovi u sektoru daljinskog grejanja – obnovljivi izvori Toplotne pumpe kao osnovni pokretač

## Slide 9
Prednosti u odnosu na tradicionalne kompresore
Danfoss Turbocor
®

## Slide 10
Leanheat Building
Leanheat Monitor + TITAN
RT data monitoring and predictive maintenance
Self-commissioning and continuous optimization
Virtual Heat Storage (VHS)
Monitoring & Optimization tools
Leanheat Production
Peak shaving
demand response / demand side management
Geothermal
Industrial waste heat
Wastewater/Sewage treatment
Seasonal heat storage
Excess heat/Data centers
DHN return pipe
Indoor heating solution
Flat stations
Floor heating, fan coil and radiator solutions
Metering
Hydraulic balancing
Secondary loop/heat exchange unit
Compact pre-assembled heating stations
Hydraulic portfolio
Heat station controls
Hydronic Heat Exchangers (optional)
Oil-free WWHPs
Max. supply hot water temperature 67°C (75°C）
Large ΔT scenario suits DH network
Leanheat Production
Leanheat Network
Supply temperature optimization in DHC networks
ΔP optimization in networks / lower pumping costs and dT improvement
Monitoring & Optimization tools
Leanheat Monitor
Calculation of best economical energy production mix
Primary DH network
High quality Ball valves
Sensors
Network optimization
Hydropower
Wind
Photovoltaics
Excess electricity
WWHP u različitim aplikacijama
* components, subsystems, services, solutions
Notes: Together with heat pumps, Danfoss provides a complete range of advanced solutions and products, from production and distribution to final consumption. This includes software solutions for modeling, designing and optimizing district heating systems.

## Slide 11
Prikuplanje i čuvanje podataka sa senzora i merila toplotne energije u cilju prognoze opterećenja (load forecasting)
Prikupljanje I čuvanje podataka o temperature u prostoru I korišćenje termičkog kapaciteta zgrade radi predvižanja toplotnog opterećenja i uštede na pikovima opterećenja
„Pametne“ i energetski
efikasne zgrade
Optimizacija proizvodnih izvora I razvodne tempere čime je osiuranoa najekonomičnije upravljanje
Upravljanje različitim energetskim izvorima, management OIE i otpadnom toplotom
U slučaju CHP povećati proizvodnju struje onda kad je ekonomski najisplativije
Optimalno korišćenje skladišta toplotne energije
Kalkulacija optimalnog „Energy miksa“
Intelligentno upravljanje izvorima
Digitalna transformacija daljinskog grejanja
Zašto? Kad? Gde? Kako?
Poboljšana kontrola temperature, pritiska i protoka – u realnom vremenu i daljinski
Poznavanje transportnog vremena, gubitaka toplote, itd.
Optimizacija distribucije energije sa samopodešavanjem (auto-commissioning) i kontinualna optimizacija rada toplotnih podstanica
Optimal network design, simulation
Prediktivno održavanje; redukcija operativnih troškova i troškova održavanja i produženi životni vek opreme.
Algoritam zasnovan na veštačkoj inteligenciji predviđa moguće kvarove u sistemu , npr na izmenjivaču toplote i osigurava korekcije u radu sistema
Optimalna distribucija

## Slide 12: Danfoss Leanheat® Sveobuhvatna rešenja za optimizaciju troškova toplotne energije u daljinskom grejanju
Management level
Specialist level
Sekundardna strana
(Zgradarstvo)
Primarna strana
(Planiranje, Upravljanje mrežom, Proizvodnja toplotne energije
Proizvodnja
Distribucija
Monitoring
Potreba za toplotnom energijom
Krajnji korisnici
Proizvodnja
Predviđanje toplotnog opterećenja
Optimizizacija temperature razvodne vode na osnovu statistike
Optimizacija proizvodnje
Planiranje proizvodnje
Mreža
Projektovanje mreže
Vizuelizacija i „On line“ upravljanje mrežom
Hydrauličko optimizovanje razvodne temperature
Optimizacija pritiska
Kompletno praćenje sistema
Monitoring and Control
Laka integracija podataka
Jednostavna ekstrakcija i interpretacija podataka
Integrisanje uređaja sa različitim protokolima
Zgradarstvo
Optimizovanje pikova opterećenja
Optimizacija potrošnje energije
Apartmani
Praćenje potrošnje kod krajnjih korisnika
Optimizacija povratne temperature
Data API HUB
AI Engine

## Slide 14
Virtus – Danfoss regulatori pritiska i protoka – pouzdano rešenje sa kompletnim proizvodnim opsegom
Nominalni pritisak PN 16, 25 & 40
Nominalni prečnici DN 65-250

## Slide 15
Multifunkcionalni inteligentni kontroler
2 inovativne fukcije implementirane u jedan proizvod
iSet substation optimization function
iNet network optimization function
Omogućena komunikacija i povezivanje sa različitom opremom
Notes: Multifunctional Intelligent controller- iSET & iNET functions for substation and network optimization, implemented in one product
iSET-Auto stabilization function supports 1 MCV, either AME or AMV
Open communication and connectivity with various equipment -supports analog signal 0-10V/4-20mA and RS 485 Modbus RTU
Feedback signal for operation status

## Slide 16
iSET – Funkcionisanje i algoritam
Funkcionisanje i algoritam
t
t
Projektovani protok Δp
Prag
(MCV pozicija)
Signal od kontrolera
idpMA pritisak
C1
uključeno
isključeno
C2
Novo
Na tržištu 2023

## Slide 17
iNET - Inteligentno balansiranje mreže
Potencijal kritične tačke u mreži
Dijagram dif.pritiska u mreži
∆p
izvor
∆p
Kritična
tačka
Smanjenje troškova pumpanja štedeći potencijale podešavanjem Δp na stvarnoj kritičnoj tački u stvarnom vremenu
  Daljinsko podešavanje diferencijalnog pritiska na ograncima i krajnjim tačkama
Maksimalizovanje korišćenja akumulirane toplote u mreži i u zgradama
  Poboljšanje stabilnosti distributivna mreže, niži troškovi pumpanja i niže povratne temperatura
Notes: Potential network critical points.
Subject of change due to changing daily or seasonal (summer, winter) conditions, heat-source utilization, etc.

## Slide 18
iNET – Povezivanje sa kontrolerima i SCADA sistemom

## Slide 19: ECL Comfort 310/296
ECL Comfort 310 nudi najsavremenije opcije za komunikacione interfejse.
Opseg opcija, dostupnih ili putem ugrađenih ili spoljašnjih modula uključuje
Modbus
M-Bus
i USB za potrebe održavanja
Komunikacija sa SCADA sistemom
Namenski kontroler za daljinsko grejanje

## Slide 20: Nova dimenzija daljinskog grejanja Titan™ by Danfoss
Titan™ by Danfoss
Danfoss -TitanTM kombinacija "best-in class“ podstanica sa digitalnom tehnologijom
Intuitivno,pouzdano, i kontinualno puštanje u rad
„Best-in-class“ podešavanjekoje osigurava duži radni vek
Optalno T - „data-driven“ energetski efikasno voženje
100% Danfoss poroizvod čime je osiguran najviši kvalitet i pouzdanost
Digitalni podsistemi – povezivanje digitalnih komponenti
i tehničkih usluga

## Slide 21: „End-to-End“ sveobuhvatna optimizacija kao rešenje za integraciju obnovljivih izvora energije u tradicionalne sisteme
Customer enga eTRV
(For „MFH“)
Pilot Stage with Customer
(Housing Association)
Return. Temp.
Optimization
Danfoss
‘Solo’
In Development
Heating Control
Spratne stanice
Digital Balancing
NovoCon®
„Digital balancing
Solution“
In the Market
Building Integration
Leanheat
Solution
In the Market
Temperature- and Plant
MentorTM
In the Market
Thermo-hydraulic
Modeling
EnergisTM
In the Market
System Monitoring
EnspireTM
In the Market
Digital Sub-station
TITAN®
In Development
Building Integration
Leanheat®
Building
In the Market
Temperature- and Plant
Leanheat®
Production
In the Market
Thermo-hydraulic
Modeling
Leanheat®
Network
In the Market
System Monitoring
Leanheat®
Monitor
In the Market
Daljinsko grejanje
Zgradarstvo

## Slide 22
Hvala na pažnji
  vladimir.sukovic@danfoss.com
Danfoss Climate Solutions Vaš pouzdan partner Integracija obnovljivih izvora u tradicionalne sisteme daljinskog grejanja